## Audit Worksheet
Office Electricity Audit Template
Date: July 10, 2009 |  | Revised June 27, 2010 by James Devaney
This spreadsheet will help you use your watt meter to calculate the energy use of your appliances and office equipment. For each appliance, fill in the orange, yellow, and purple boxes. In some cases you will also need to fill in the blue boxes. The white and green boxes will calculate automatically. To reveal further instructions, place your mouse cursor over each of the column headings below.
Rate per KWhr: | 0.07
| Watts |  | Hours |  | Ave. Watt Calculator (Optional) |  |  | Results |  |  | Total Cost |  |  |  |  | Phantom Load Cost
| ON watts (W) | OFF watts (W) | Hours ON per week | Hours OFF per week | measured kwh | time (hrs) | average watts | Total Weekly Electricity Use (kwh) | Phantom Load per Week (kwh) | Phantom Load as % of Weekly Usage | day | week | month | year |  | day | week | month | year
Bedroom
Computer | 200 | 10 | 12 | 156 |  |  |  | 3.96 | 1.56 | 39.39% | 0.0396 | 0.2772 | 1.188 | 14.4698 |  | 0.0156 | 0.1092 | 0.468 | 5.7002
Lamp | 135 | 0 | 64 | 104 |  |  |  | 8.64 |  |  | 0.0864 | 0.6048 | 2.592 | 31.5706
Treadmill | 300 | 6 | 2.5 | 165.5 |  |  |  | 1.743 | 0.993 | 56.97% | 0.01743 | 0.12201 | 0.5229 | 6.3689 |  | 0.00993 | 0.06951 | 0.2979 | 3.6284
Alarm Clock | 3 | 0 | 168 | 0 |  |  |  | 0.504 |  |  | 0.00504 | 0.03528 | 0.1512 | 1.8416
Heating Pad | 43 | 1 | 28 | 140 |  |  |  | 1.344 | 0.14 | 10.42% | 0.01344 | 0.09408 | 0.4032 | 4.911 |  | 0.0014 | 0.0098 | 0.042 | 0.51156
Common Area
Fan | 4 | 2 | 3 | 165 |  |  |  | 0.342 | 0.33 | 96.49% | 0.00342 | 0.02394 | 0.1026 | 1.2497 |  | 0.0033 | 0.0231 | 0.099 | 1.2058
TV center
Bathroom
radio
phone charger
laptop | 45 | 1 | 100 | 68 |  |  |  | 4.568 | 0.068 | 1.489% | 0.04568 | 0.31976 | 1.3704 | 16.6915 |  | 0.00068 | 0.00476 | 0.0204 | 0.24847
Kitchen
Refrigerator
Coffee Maker
Blender
Microwave
TOTAL | [7 empty] | 21.101 | 3.091 | 14.65% | 0.21101 | 1.4771 | 6.3303 | 77.1031 | 0 | 0.03091 | 0.21637 | 0.9273 | 11.2945
Note on C14: Refers to the number of watts the device uses when it is turned on. There are two ways to get this number: 1) If the device uses a pretty constant amount of energy (the watts don't spike up or drop down throughout the day), then just plug into the watt meter, press the middle button so you see the word "WATTS" on the right side of the display, and record that number. 2) If the device uses a varying amount of energy (for example, a printer's energy use spikes up when you print a document, then drops back down again), calculate the AVERAGE watt usage, using the blue box on the right side of this spreadsheet. When you're done, record the "average watts" in this column.
Note on D14: You may be surprised to learn that some of your appliances continue to use power even when they're turned off! Try turning your appliance off while it's still plugged into the watt meter. Does the Watts reading drop down to zero? If so, enter zero here. If not, enter the number that you see. When appliances continue to draw electricity even after they're turned off, it's known as "Phantom Load". For more information on this, and to learn what you can do. Refer back to your Information Packet.
Note on F14: In this column, record the average number of hours each appliance is turned on over the course of a typical week. You can estimate if necessary. For example: If appliance is on whenever your office is open, and your office is open 9 hours per day, 5 days per week: 9 x 5 = 45 hours per week. If appliance is always on: 24 x 7 = 168.
Note on G14: This column will automatically calculate the number of hours per week your appliance is turned off, based on the number of hours you say the appliance is turned on.
Note on I14: Use the three columns in this blue box if you would like to calculate your appliance's AVERAGE watt consumption. This is only necessary if your appliance's electricity use varies over the course of the day (for example, a printer's watts will spike up while you're printing, then drop back down again). If your device's electricity use is steady (like most lamps), you can skip this box. After you've plugged you watt meter in, press the button on the right to see the kilowatt-hours. At first it will probably read 0.00 kwh. Leave the appliance plugged into the meter for a couple hours (or longer) then come back. Record the KWH reading you see. Next, push the button on the right a second time to reveal the clock function. This will show you how long the meter has been counting kilowatt-hours. Make note of this number, and record it in the next column. Tip: Record 30 minutes as 0.5, 45 minutes as .75, and so on.
Note on J14: This is where you record how long your watt meter has been counting kilowatt-hours, using the clock function. Refer back to the previous column's instruction box for more info. Remember to enter 30 minutes as 0.5, 45 minutes as .75, and so on.
Note on K14: This column will automatically calculate the AVERAGE number of watts your appliance drew over the time you had it plugged into your watt meter. Record this number back in the orange column on the left side of the spreadsheet.